## Project Site Data Set Key
Interconnected Project Sites Data Sets
Updated 03-31-2026
Data for new interconnection applications is added to the data set on a monthly basis. Please note that updates to existing applications take place on a quarterly basis rather than a monthly basis. For example, an existing application's status may need to be retroactively updated from 'interconnected' to 'decommissioned'. In rare cases, applications may be terminated and deleted from the dataset post-publication.
Column | Field | Definition | Additional Details
A | Application Id | Unique identifier for each interconnection request (application) | SDG&E SDGE only reports one technology type per application. For example, a property with two batteries and eight solar panels will receive two interconnection applications, one for the batteries and another for the solar panels. When a customer upgrades an existing system, a new application will be added to the premise. Additionally, if a customer installs an additional battery, a separate application is added for that as well. SCE SCE reports multiple technology types per application. When a customer adds a new system to a property with existing systems, they will submit a new application ID and note the existing systems on that application, and the existing application with the current systems will be terminated. PG&E PG&E reports multiple technology types per application. When a customer adds a new system to a property with an existing system, they will submit a new application ID and note both the new and existing systems on that application. The existing applications that contain information on the current systems at that property will be noted in the preceding ID column and will not be removed from the dataset.
B | Matched CSI Application Number | Matched CSI application Id from the CSI Working Data Set
C | Application Status | Current status of the application in the application process (Interconnected) | Since this dataset only contains applications that are (or have once been) active, there are two main application statuses in this column: - Interconnected: The system(s) have received permission-to-operate and are active. However, there may be cases where a system is not active, but the customer has not notified the IOU of its decommissioning, - Decommissioned: One or more systems at the property are inactive either because they have been destroyed, removed, or for another reason. Some notes on decommissioned status: Although the application status may be decommissioned, not all the systems at the property have necessarily been decommissioned. Energy Division is working on identifying ways to clearly note which generators/inverters have been decommissioned. Applications will only be decommissioned if the customer notifies the IOU that the system is no longer in operation; this means there may be applications that are noted as active but actually refer to a decommissioned system. Please note that application statuses are updated on a quarterly basis rather than a monthly basis. SCE For SCE, when a system at a property with multiple systems is decommissioned, the existing application's status is changed to decommissioned and a new application is created with the existing active systems (plus any new systems). PG&E For PG&E, whenever a system must be decommissioned, a new application is submitted to decommission it (and add any new systems). The original application remains unchanged. This means that there are systems in this dataset that have an 'interconnected' status but have actually been decommissioned. SDG&E For SDG&E, since there is only one system per application, when a system gets decommissioned, only that system's associated application will be decommissioned. Customers are required to notify SDG&E of decommissions. SDGE has more detailed decommissioned sub-statuses, which are the following: - Destroyed: the system was destroyed, likely due to a natural disaster - Deactivated: the customer reaches out to notify SDGE that they are not using their system, but it has not been removed from the premise - Removed: the system has been removed from the premise
D | Utility | Investor Owned Utility (PG&E, SCE or SDG&E)
E | Service City | Physical city of the application | PG&E PG&E allows the publication of city name for non-NEM Rule 21 interconnection applications. SCE SCE does not validate addresses. SDG&E SDG&E does not allow the publication of city name for non-NEM Rule 21 interconnection applications.
F | Service Zip | Physical zip code of the application | PG&E PG&E allows the publication of zip code for non-NEM Rule 21 interconnection applications. SCE SCE does not validate addresses. SDG&E SDG&E does not allow the publication of zip code for non-NEM Rule 21 interconnection applications.
G | Service County | Physical county of the application | SCE does not validate their addresses.
H | Technology Type | Generator technology type(s) | This dataset contains both fossil fuel and renewable electrical generation facilities (REGF). However, only REGF generators can receive the NEM tariff. For a detailed definition of REGF, see Pub. Util. Code. § 2827(b). Backup generators (BUGs) are fossil fuel generators and are interconnected differently per IOU. PG&E: Allows multiple technology types per application, so each row may contain different technologies. External inverters are noted as a separate category for PG&E applications. BUGs that are categorized as "make-before-break" are required to be reported to PGE through a Rule 21 interconnection application and show up on this dataset. BUGs categorized as "break-before-make" are also reported in this dataset but are reported through a separate optional form not considered Rule 21. SCE: Allows multiple technology types per application, so each row may contain different technologies. External inverters do not receive a distinct category; their details are just noted in the inverter model, manufacturer, and quantity columns. Rule 21 non-NEM equipment information only goes back until 2019, when it started to be digitized. BUGs operating in isolated operating mode are reported as Rule 21 non-export. SDG&E: Allows only one technology type per application, so properties with multiple technologies will have a unique application ID per technology type. External inverters do not receive a distinct category; their details are just noted in the inverter model, manufacturer, and quantity columns. BUGs that operate in parallel and are intended to be utilized as a "backup generator" are reported as a Rule 21 system, but not explicitly identified as a "BUG". BUGs that are utilized only for emergency or standby purposes are not interconnected under Rule 21 because they do not operate in parallel with SDGE's distribution system and are not reported in this dataset.
I | System Size DC | Total direct current (DC) output of distributed generation in kilowatts | The values may be a mix of Standard Test Condition (STC) and PVUSA Test Condition (PTC), depending on the utility. PG&E reports PTC. SDG&E: Applications prior to 2011 that have been decommissioned may have a 0 for system size. SDG&E's application systems during this time period overwrote a value of 0 over the original system size when a system was decommissioned. Unfortunately the original sizes are not retrievable. This issue impacts less than 1% of the SDG&E's total Interconnected Projects dataset. SDG&E does not validate DC project size.
J | System Size AC | Total alternating current (AC) output of distributed generation in kilowatts | SDG&E: Applications prior to 2011 that have been decommissioned may have a 0 for system size. SDG&E's application systems during this time period overwrote a value of 0 over the original system size when a system was decommissioned. Unfortunately the original sizes are not retrievable. This issue impacts less than 1% of the SDG&E's total Interconnected Projects dataset.
K | Storage Capacity (kWh) | The maximum storage capacity, which is the combined maximum amount of electricity, measured in kilowatt hours, that the installed storage system can safely hold | PG&E There may be valid cases where the Storage Capacity (kWh) and Storage Size (kW AC) fields are 0 for an application. -This may occur if storage equipment is replaced in a superseding application by equipment that is equal to or less than the Storage Capacity (kWh) and Storage Size (kW AC) of the previous equipment (known as a like-for-like replacement). -The Storage Capacity (kWh) and Storage Size (kW AC) may also be 0 if the application is to change the tariff to NEM Aggregation (NEMA). -The fields may be 0 if the application is adding solar-only to a property with existing storage. On each application, PG&E requests the customer to note every technology installed at the property, including existing technologies. PG&E then populates the Technology Type field with the existing technology types, but does not include their capacity or size in the Storage Capacity (kWh) and Storage Size (kW) fields (only the details for the equipment being added or decommissioned through the application is included in these fields). For example, an application to add additional solar could be submitted for a project site with existing solar and storage. In that case the superseding application’s technology type field would indicate ‘photovoltaic’ and ‘battery energy storage’ but only the new solar would be accounted for in the System Size AC and System Size DC fields. The Storage Capacity (kWh) and Storage Size (kW AC) fields would be 0 or blank. -The fields may be 0 if an applicant with solar installs non-export storage.
L | Storage Size (kW) | The maximum continuous discharge rate, which is the highest amount of power a storage system can release continuously, without interruption, under safe operating conditions (aka maximum steady output); measured in kilowatts | Please note this field was previously named ‘Storage Size (kW AC’). The name has been updated because either AC or DC may be reported here. Batteries without integrated inverters report the maximum continuous discharge rate in kW DC while batteries with an integrated inverter likely report in kW AC. We can confirm the latter is done for Tesla batteries. PG&E There may be valid cases where the Storage Capacity (kWh) and Storage Size (kW AC) fields are 0 for an application. -This may occur if storage equipment is replaced in a superseding application by equipment that is equal to or less than the Storage Capacity (kWh) and Storage Size (kW AC) of the previous equipment (known as a like-for-like replacement). -The Storage Capacity (kWh) and Storage Size (kW AC) may also be 0 if the application is to change the tariff to NEM Aggregation (NEMA). -The fields may be 0 if the application is adding solar-only to a property with existing storage. On each application, PG&E requests the customer to note every technology installed at the property, including existing technologies. PG&E then populates the Technology Type field with the existing technology types, but does not include their capacity or size in the Storage Capacity (kWh) and Storage Size (kW) fields (only the details for the equipment being added or decommissioned through the application is included in these fields). For example, an application to add additional solar could be submitted for a project site with existing solar and storage. In that case the superseding application’s technology type field would indicate ‘photovoltaic’ and ‘battery energy storage’ but only the new solar would be accounted for in the System Size AC and System Size DC fields. The Storage Capacity (kWh) and Storage Size (kW AC) fields would be 0 or blank. -The fields may be 0 if an applicant with solar installs non-export storage.
M | Inverter Size (kW AC) | Total alternating current (AC) power rating of inverter(s) in kilowatts
N | Tilt | Measure of the angle between a photovoltaic array and a horizontal plane
O | Azimuth | For tilted arrays, the azimuth is number of degrees clockwise from true north
P | Mounting Method | Description of the mounting method: Ground, Rooftop, Mixed | Ground, rooftop, or mixed.
Q | Tracking | Description of the tracking capability of the solar PV project: Fixed Array OR Single-Axis Tracker OR Dual-Axis Tracker | Fixed array, single-axis tracker, or dual-axis tracker.
R | Customer Sector | Residential, Commercial, Industrial, Non-profit, Educational, Military, Other Government, Not Available | For SCE and PG&E, some multifamily properties that are actually residential will be categorized as Commercial since they may fall under a commercial electric rate. This is because these properties may have buildings that are considered commercial, such as pool houses, community centers, etc. At a future point, Energy Division may explore strategies to correct this issue. This is not the case with SDG&E, all multifamily properties should be categorized correctly.
S | App Received Date | Date the application is received | PG&E PG&E is missing some values because they belong to old applications submitted on paper and the date was not entered during the digitization process. Currently, this column is autogenerated by the interconnection application portal. SDG&E SDG&E automatically populates this column with the date the application was submitted. SCE SCE automatically populates this column with the date the application was submitted.
T | App Complete Date | Date the interconnection application is deemed complete. Required documentation has been provided and the application has no deficiencies in information. | Applications are deemed complete when all the required documentation has been provided and a review by IOU staff deems no deficiencies in the information submitted. In rare cases, the 'App Complete Date' may be after the App Approved date. This may occur if an application is retroactively updated, which also updates the 'App Complete Date'. PG&E PG&E is missing some values because in the past, it was contained in a different column and that information has not been ported over to the current column. Additionally, some are missing because they were old applications submitted on paper and the date was not entered in the digitization process. Currently, this column is autogenerated by the interconnection application portal. SCE SCE has the application processor manually enter this value. SDG&E SDG&E automatically populates this field according to the following: for 30 kW or less applications, this date is determined by the date and time stamp for when the customer submits their Terms and Conditions (referred to as the ‘Received Customer Approval (RCA)’ date). For Greater than 30 kW applications, terms and conditions (all T&Cs are on the IA) are not required therefore the ‘complete’ date will be equal to the ‘received’ date. However, for all applications, if there is an issue with the application which requires them to ‘Incomplete’ it to allow corrections on the applicant’s end, then the ‘complete’ date will be updated to reflect the date the issue was resolved. This is all automated by the system.
U | App Approved Date | Date the interconnection application is approved and the Permission to Operate (PTO) letter is issued to customer | PG&E Some older applications will not have application dates. Currently, this column is autogenerated by the interconnection application portal once the application is given PTO. SCE SCE automatically populates this field once the application is given PTO using portal timestamps. Applications for isolated operating mode generators (aka backup generators) are not assigned an App Approved Date. There also may be missing dates for applications submitted prior to 2015. SDG&E They have 75 old applications without dates that were manually added into their databases. Other missing application dates may be due to errors in their code and can be addressed once identified. This is manually entered by SDG&E staff.
V | Self Installer | The project was self-installed by the customer (Yes/No)
W | Installer Name | Name of installer | PG&E All fields except for Installer Phone are auto populated using the CSLB #. SCE Unknown SDG&E The contractor's contact details (Name, Phone, Address) are auto populated with the information they used to register the account. Installers have individual login accounts. Each account has a name, company name, phone number, email. An individual account (registered user) can submit an application under a different company’s CSLB #.
X | Installer Phone | Phone number of installer
Y | Installer City | Physical city of installer
Z | Installer State | Physical state of installer
AA | Installer Zip | Physical zip code of installer
AB | CSLB Number | The California State Licence Board (CSLB) number of the installer | These entries are validated by each IOU.
AC | Third Party Owned | Is the System Owner is a different entity than the Host Customer for the solar PV system? (Yes/ No)
AD | Third Party Owned Type | Ownership type for third party owned PV systems: Power Purchase Agreement (PPA), Lease, Pre-Paid Lease, Other
AE | Third Party Name | Name of third party owner
AF | Pace Financed | Is the solar PV project financed by a Property Assessed Clean Energy (PACE) loan? (Yes/No)
AG | Pace Financier | Financier of the PACE loan
AH | Electric Vehicle | Is there electric vehicle charging at the service address of the solar PV project? (Yes / No)
AI | Electric Vehicle Count | Number of electric vehicles at the service address of the solar PV project
AJ | System Output Monitoring | Is the solar PV project is equipped with system output monitoring? (Yes/ No)
AK | System Output Reports To Vendor? | Does the solar PV project provide an outside vendor access to system output from the PV system? (Yes/No)
AL | System Output Monitoring Provider | Technology provider of the performance system output monitoring
AM | Total System Cost | Total cost of solar PV project for host customer owned projects | As reported by the applicant. The cost components and considerations included in this figure vary as a result. Where multiple technologies are involved with one application the cost is not broken out by technology type.
AN | Itc Cost Basis | Investment Tax Credit Cost Basis reported to the IRS for third party owned projects
AO | Previous Application | Is there a previous interconnection application at the same service address? (Yes / No)
AP | Previous Application Ids | The previous interconnection application Ids at the same service address
AQ | NEM Tariff | Application is under either the NEM 1.0 tariff or NEM 2.0 tariff | If an application transitions from one tariff to another tariff, for example aging out of NEM 2.0 after 20 years, the tariff field on the interconnection application is not updated to note the new tariff. That update is only captured in the IOUs' billing systems.
AR | VNEM, NEM-V, NEM-Agg | Participation in a VNEM, NEM-V, or NEM-Agg tariff
AS | Project is VNEM, NEM-V, NEM-Agg? | Project is a participating in a VNEM, NEM-V, or NEM-Agg tariff meaning there are multiple benefitting accounts (Yes/ No)
AT | Interconnection Program | Interconnection program that the project application is participating under | PG&E PG&E's BUGs are categorized as "make-before-break" or "break-before-make"; the former are Rule 21 interconnections, the later are not (and optionally reported to the IOU); both are reported in this dataset. SCE For SCE, if a customer with an existing NEM system submits a Rule 21 non-export application for an additional system they are installing, the NEM application is terminated and its information is ported over to the Rule 21 application, which is why there are cases where a Rule 21 application has a NEM tariff. Currently, however, the Rule 21 data does not include PV details such as tilt/azimuth/installer details/etc., and ED is working on including that information in the future. Starting July 2025, RES-BCT and other procurement programs are included in this dataset. SCE's BUGs are Rule 21 non-export interconnections and are reported in this dataset. SDG&E BUGs that operate in parallel and are intended to be utilized as a "backup generator" are reported as Rule 21 systems, but not explicitly identified as "BUGs". BUGs that are utilized only for emergency or standby purposes are not interconnected under Rule 21 because they do not operate in parallel with SDGE's distribution system and are not reported in this dataset. ED may explore including these in the future. RES-BCT is included as an interconnection program type in this column
AU | NEMPV or nonNEMPV | Indicates whether application is a PV system under a NEM tariff
AV | VNEM ID | VNEM Identification
AW | Match Somah App | Matched Somah application Id
AX-> | Generator Model | Model of technology type | PG&E Generators are selected from a drop-down list created from a combination of the CEC equipment list that meet equipment standard certification requirements and equipment approved by PG&E not found on the CEC list but still received required equipment standard certification. Systems not found on this list are entered in manually by the applicant and verified by PG&E staff. SCE Non-battery generators are selected from a drop-down list created from a list generated by the software vendor they use for the Interconnection Application Portal. This list includes all the equipment from the CEC list as well as others. Systems not found on this list are entered in manually by the applicant and verified by SCE staff. However, this list does not include batteries, so there are only free-response options available for those fields. Generators that are entered through a free-form field (instead of being selected from the CEC Equipment List) are validated by their staff reviewers. Only two free-form generator fields are included; if a customer wants to install more than two different generator models that are not on the CEC Equipment List, then they will need to combine the additional generator information into the second free-form field. As mentioned earlier, battery storage models are only free-form, they do not have predefined options to select from. Free-form entry for the battery fields may lead to cases where the Battery Model and Manufacturer are different. However, SCE is aware of this issue and plan to create selectable fields for batteries in the future. For non-NEM Rule 21 interconnections the quantity of photovoltaic panels, model, and manufacturer are not collected. SDG&E The user is only allowed to select values from a drop-down menu that is a combination of CEC equipment and SDGE-approved equipment. If a system is not found in the drop-down list, it is referred to the SDGE Engineering staff for approval. Once approved, it is added to the drop-down list.
| Generator Manufacturer | Manufacturer of technology type
| Generator Quantity | Quantity of technology type
| Generator Fuel Type | Fuel type of the generating equipment (if applicable)
| Inverter Model | Model of inverter | Energy Division will explore opportunities to display which inverters are associated with certain generators.
| Inverter Manufacturer | Manufacturer of inverter
| Inverter Quantity | Quantity of inverters